## Slide 1: Routing Algorithms for Flow-based Microfluidic Very Large Scale Integration Biochips
Martin Simonsen Hørslev-Petersen
&
Thomas Onstrup Risager
Technical University of Denmark

## Slide 2: Motivation for biochips
  Applications
  Laboratory work
  Point-of-Care testing
  DNA sequencing

## Slide 3: Flow based biochips
http://groups.csail.mit.edu/cag/biostream
10x real-time
Microfluidic biochip

## Slide 4: Basic building block: microfluidic valve
a
Pressure
Source
Control Layer
Flow Layer
Valve
va
Fluidic Input
Control Pin z1
Valve
va
3D View
Top View
Glass Plate

## Slide 5: Components
Microfluidic switch

## Slide 6: Components
  Mixer
  Filter
  Detector
  Heater
  Storage units
  Separator
[Urbanski et al., Lab-on-a-Chip 2006]

## Slide 7: Advantages and challenges
  Advantages
    High throughput (multiple experiments/ chip)
    Reduced cost (reduced sample/ reagent consumption)
    Reduced size (miniaturization)
    Automation
  Challenges
    High design complexity
    Current design methodologies
      Manual: drawing in AutoCAD
      Bottom-up
      Full-custom

## Slide 8: Design tasks: VLSI vs mVLSI
System Specifications
Architectural Design
Functional Design
Logic Design
Circuit Design
Physical Design
Fabrication
System Specifications
Schematic Design
Physical Design
(Flow Layer)
Application Mapping
Control Synthesis
Physical Design
(Control Layer)
Fabrication
0
0
0
0
1
1
v1
v2
...
...
...
...
...
...
...
t1
t2
t3
...
VLSI
mVLSI
X = (AB + CD)
Y= (A(B+C))

## Slide 9: Schematic design
Schematic design
  6 Components
  7 Connections
Remaining Design steps
  Placement
  Flow Routing
  Application Mapping
  Control Synthesis
  Control Routing
  Fabrication

## Slide 10: Placement
NP-Complete Problem
Simulated Annealing
  Moving Components.
  Rotation Components.
  Evaluated by cost function.
  Better solutions always preferred.

## Slide 11: Placement
NP-Complete Problem
Simulated Annealing
  Cooling Schedule.
  Cost Function and Temperature.
  Probability for selecting a worse solution.
  Avoid local minima.

## Slide 12: Lee Algorithm
Lee algorithm.
  Wave based algorithm.
  Connecting sets of points

## Slide 13: Routing of the flow layer
Lee – Steiner algorithm.
  Find inlet and outlet terminals to connect.

## Slide 14: Routing of the flow layer
Lee – Steiner algorithm.
  Wave based algorithm
  From several points to one point.
  Bonus to T-Crosses
  Custom Cost Map.
  Flow wave Break-Through penalty.

## Slide 15: Color Coding
This color coding indicates the distance from the source to the specific cell.

## Slide 16: Routing of the flow layer
T-Cross Weight
  1
Detour Weight
  1
Buffer Space
  1

## Slide 17: Routing of the flow layer
T-Cross Weight
  15
Detour Weight
  1
Buffer Space
  1

## Slide 18: Routing of the flow layer
T-Cross Weight
  1
Detour Weight
  10
Buffer Space
  1

## Slide 19: Routing of the flow layer
T-Cross Weight
  1
Detour Weight
  1
Buffer Space
  2

## Slide 20: Application mapping and Control Synthesis
Map a biochemical application to the chip.
Generate the execution schedule.
Optimize the control.
  Base case:
  20 valves
  Possible valve sharing

## Slide 21: Routing of the control layer
Lee – Steiner
  Route from component to nearest air inlet.
  Rip-up and reroute
    Intelligent rip-up.
    Poisson distributed rip-up
  Port Spacing

## Slide 22: Routing of the control layer
Lee – Steiner
  Route from component to nearest air inlet.
  Rip-up and reroute
    Intelligent rip-up.
    Poisson distributed rip-up
  Port Spacing

## Slide 23: Routing of the control layer
Lee – Steiner
  Route from component to nearest air inlet.
  Rip-up and reroute
    Intelligent rip-up.
    Poisson distributed rip-up
  Port Spacing

## Slide 24: Routing of the control layer
Lee – Steiner
  If Control line sharing :
    Routing between components first.
  The 4 switches share one control line
  The filter and mixer shares one control line.

## Slide 25: Routing of the control layer
Lee – Steiner
  If Control line sharing:
    Routing between components first.
  The 4 switches share one control line
  The filter and mixer shares one control line.

## Slide 26: Routing of the control layer
Lee – Steiner
  If Control line sharing :
    Routing between components first.
  The 4 switches share one control line
  The filter, heater, and mixer shares one control line.

## Slide 27: Routing of the control layer
Lee – Steiner
  If Control line sharing :
    Routing between components first.
  The 4 switches share one control line
  The filter, heater, and mixer shares one control line.