## Slide 1: Droplet-Aware Module-Based Synthesis for Fault-Tolerant Digital Microfluidic Biochips
Elena Maftei, Paul Pop, and Jan Madsen Technical University of Denmark
DTU Informatics

## Slide 2: Architecture model
Biochip from Duke University

## Slide 3: Electrowetting on Dielectric

## Slide 4: Reconfigurability
S2
R2
B
S3
S1
W
R1
Dispensing
Detection
Splitting/Merging
Storage
Mixing/Dilution
Non-reconfigurable
Reconfigurable

## Slide 5: Module-Based Operation Execution
Droplets have a fixed movement path inside the module, hence
The position of a droplet inside a module is ignored
R2
B
S3
R3
S2
S1
W
R1
Operation | Area (cells) | Time (s)
Mix | 2 x 4 | 3
Mix | 2 x 2 | 4
Dilution | 2 x 4 | 4
Dilution | 2 x 2 | 5
Module library
Module: an abstraction—a virtual functional unit where a reconfigurable operation “executes”
Module

## Slide 6: Droplet-Aware Operation Execution
S2
R2
B
S3
S1
W
R1
2 x 4 module
Droplets can move on any path inside a module, the path is not fixed
For module-based operations we know the completion time from the module library.
But now that the droplets can move on any path inside the module area…
  How can we find out the operation completion times?
Droplet-aware: we propose an approach where we keep track of the position of a droplet inside a module

## Slide 7: Calculating Operation Completion Time
If the droplet does not move: very slow mixing by diffusion
If the droplet moves, how long does it take to complete?
We know how long an operation takes on modules
Starting from this, we can decompose the modules and determine the completion percentages:
p0, p90, p180

## Slide 8: System-Level Design Tasks (Offline!)
Scheduling
Binding
Placement & routing
Allocation

## Slide 9: Design Challenges: Faults
Electrode degradation
Electrode short
Hindered transportation
Imperfect splitting

## Slide 10: Fault-Tolerant Design
R2
B
S3
R3
S2
S1
W
R1
Faulty cells
Causes
  Dielectric breakdown
  Insulator degradation
  Short between adjacent electrodes
Faulty cells must be avoided during the execution of the operations

## Slide 11: Example
Application graph
R2
B
S3
R3
S2
S1
W
R1

## Slide 12: Example
Application graph
R2
B
S3
R3
S2
S1
W
R1
2 x 3
2 x 3
2 x 3
2 x 4
R3
S3
R2
S2
R1
S1

## Slide 13: Example (module based)
t = 2
Application graph
R2
B
S3
R3
S2
S1
W
R1
2 x 3
2 x 3
2 x 3
2 x 4
R3
S3
R2
S2
R1
S1

## Slide 14: Example (module based)
t = 2
Application graph
R2
B
S3
R3
S2
S1
W
R1
2 x 3
2 x 3
2 x 3
2 x 4
R3
S3
R2
S2
R1
S1

## Slide 15: Example (module based)
t = 8.1
Application graph
R2
B
S3
R3
S2
S1
W
R1
2 x 3
2 x 3
2 x 3
2 x 4
R3
S3
R2
S2
R1
S1

## Slide 16: Example (module based)
t = 8.1
Application graph
R2
B
S3
R3
S2
S1
W
R1
2 x 3
2 x 3
2 x 3
2 x 4
R3
S3
R2
S2
R1
S1

## Slide 17: Example (module based: 14.2 s)
Application graph
2 x 3
2 x 3
2 x 3
2 x 4
R3
S3
R2
S2
R1
S1
Schedule

## Slide 18: Example (droplet aware)
t = 2
Application graph
R2
B
S3
R3
S2
S1
W
R1
2 x 3
2 x 3
2 x 3
2 x 4
R3
S3
R2
S2
R1
S1

## Slide 19: Example (droplet aware)
t = 2
Application graph
R2
B
S3
R3
S2
S1
W
R1
2 x 3
2 x 3
2 x 3
2 x 4
R3
S3
R2
S2
R1
S1

## Slide 20: Example (droplet aware)
t = 2
Application graph
R2
B
S3
R3
S2
S1
W
R1
2 x 3
2 x 3
2 x 3
2 x 4
R3
S3
R2
S2
R1
S1

## Slide 21: Example (droplet aware)
t = 4.5
Application graph
R2
B
S3
R3
S2
S1
W
R1
2 x 3
2 x 3
2 x 3
2 x 4
R3
S3
R2
S2
R1
S1

## Slide 22: Example (droplet aware: 6.67 s)
Application graph
2 x 3
2 x 3
2 x 3
2 x 4
R3
S3
R2
S2
R1
S1
Schedule

## Slide 23: Example
Schedule
Droplet-aware
Schedule
Module-based

## Slide 24: Problem Formulation
Input:
  Application graph
  Library of modules
  Area constraint and list of faulty electrodes
Output:
  Implementation which minimizes application execution time
    Allocation of modules from module library
    Binding of modules to operations
    Placement of modules on the array
    Routing of droplets inside modules

## Slide 25: Optimization Strategy
Allocation and binding Tabu Search
Schedule List Scheduling
Placement of modules KAMER
  Keep all maximal empty rectangles (Bazargan)
  Free space manager that divides the free space into rectangles
  Search engine that selects the best empty rectangle
Routing of droplets inside modules Greedy

## Slide 26: Experimental Evaluation (Colorimetric Protein Assay)
Colorimetric protein assay
Colorimetric protein assay
Average schedule length out of 20 runs for FT-DAS (droplet-aware) vs. FT-BBS (module-based)
Colorimetric protein assay
Colorimetric protein assay
17.37 % improvement for 12 x 12 with one fault
25.91% improvement for 12 x 12 with two faults

## Slide 27: Conclusions and Message
Researchers have so far used the abstraction of “modules”, ignoring the position of droplets
We take into account the position of droplets, and we have proposed a “droplet-aware” operation execution
  Knowing the position of the droplets, we can make a better use of the biochip area, and we can easily avoid the faulty electrodes
We have proposed an optimization strategy, which combines a Tabu Search metaheuristic and specialized heuristics for scheduling and placement, and a Greedy-like strategy for droplet movement
Extensive experimental evaluation shows the advantage of considering the position of the droplets
Researchers have adapted methods from microelectronics, using abstractions such as “modules”; new methods are needed, which take into account the particularities of these biochips